- DIC microscope setting:

- Push polarized filter to the right.

- Open the pin hole and field aperture.

- Adjust (turn) the prism (never pull out) under the objective, maintain the slider in for 40-60x obj, pull out for 20x.

- Rotate the Condenser to correct one. 5 for 20x, 4 for 40x, 6 for 60x.