- Time for experiment

- 30-60 minutes

- EGF Experiment

- Set the cell culture dish on the stage of microscope.

  - Change the dish cover to a piece of flat cover glass.

  - Make sure the dish is securely settled on the rack of the stage.

  - Make sure the 40x objective touches the bottom of dish.

- Start Metafluor

- Open a CFP-YFP-FRET protocal

- Use FRET-open to locate a good cell.

- Starting focusing to adjust focusing and exposure time.

- Configure-> Aquisition to set exposure time.

- Aquire one image, define regions.

  - Enable background subtraction of a constant

  - The constants are chosen by image histograms.

  - Define regions for tracing change of FRET.

- Aquire 5 images at 60 seconds intervals.

- Pause aquiring.

  - Adding 20 ul x 20 ug/ml EGF to 2 ml dish (200ng/ml), to the edge of dish.

  - Pipet (big, 1000ul) up and down 3 times to mix well.

  - Be careful not to touch anything or cause the cell culture dish to move.

  - Add events

    - Events -> EGF -> mark events.

- Start Aquiring at 30 seconds intervals for 20 cycles and the at 60 seconds intervals for 20 cycles.

- Adjust Focus if necessary.

- Note

- The same protocol can be used for pervanadate experiments by changing EGF to pervanadate.