## Sheet1
| Settings |  | GFP |  | mCherry1 |  | mCherry2 |  | mCherry-dim |  | Phyb_red_activation
Wavelength |  |  | 0 |  | 620 |  | 620 |  | 620 |  | 620
Ti Filter Block 1 |  | v | 5. GFP-L | v | YFPHQ | v | TxRed | v | YFPHQ | v | 6. TxRed
Ti Optical Path |  | v | 2. Left Port |  | 2. Left Port |  | 2. Left Port |  | 2. Left Port |  | 2. Left Port
Ti Lamp Voltage #2 |  |  | 5.5 |  | 5.5 |  | 5.5 |  | 5.5 |  | 5.5
Prior Servo Mode
Lambda Wheel A |  | v | 10. Open | v | 2. 546/11 Orange1 | v | 8. 580/10 Cherry2 | v | 7. 515/10 Orange2 | v | 10. Open
Lambda Wheel B |  | v | 10. Open | v | 5. 630/20 Cherry1_dim | v | 5. 630/20 Cherry1_dim | v | 6. 650/100 Cherry2_Bright | v | 7. Closed
Ti Lamp Voltage |  | v | Closed | v | Closed | v | Closed | v | Closed | v | Closed
Lambda Shutter A |  | v | Active | v | Active | v | Active | v | Active | v | Active
Lambda shutter B |  |  | Active |  | Active |  | Active | v | Closed | v | Closed

## Adjusted 20131008
| Settings |  | GFP |  | mCherry1 |  | mCherry2 |  |  | mCherry-dim |  | Phyb_red_activation
Wavelength |  |  | 0 |  | 620 |  | 620 |  |  | 620 |  | 620
Ti Filter Block 1 |  | v | 5. GFP-L | v | YFPHQ | v | TxRed |  | v | YFPHQ | v | 6. TxRed
Ti Optical Path |  | v | 2. Left Port |  | 2. Left Port |  | 2. Left Port |  |  | 2. Left Port |  | 2. Left Port
Ti Lamp Voltage #2 |  |  | 5.5 |  | 5.5 |  | 5.5 |  |  | 5.5 |  | 5.5
Prior Servo Mode
Lambda Wheel A |  | v | 10. Open | v | 2. 546/11 Orange1 | v | 8. 580/10 Cherry2 |  | v | 7. 515/10 Orange2 | v | 10. Open
Lambda Wheel B |  | v | 10. Open | v | 5. 630/20 Cherry1_dim | v | 5. 630/20 Cherry1_dim |  | v | 6. 650/100 Cherry2_Bright | v | 7. Closed
Ti Lamp Voltage |  | v | Closed | v | Closed | v | Closed |  | v | Closed | v | Closed
Lambda Shutter A |  | v | Active | v | Active | v | Active |  | v | Active | v | Active
Lambda shutter B |  |  | Active |  | Active |  | Active |  | v | Closed | v | Closed
Dichroic Mirrors: | [7 empty] | Excitation Filters: anticlockwise, Lambda Wheel A |  |  |  |  | Emission Filters: anticlockwise, Lambda Wheel B
Position 1: Analysis (DIC) - ANALY | [7 empty] | Filter 1 (Position 0): 420/20 nm CFP excitation |  |  |  |  | Filter 1 (Position 0): 480/40 nm CFP emission
Position 2: 455 dcxru (for CFP and C/Y FRET) – CFPHQ | [7 empty] | Filter 2 (Position 1): 546/11x nm mOrange1 excitation |  |  |  |  | Filter 2 (Position 1): 535/25 nm YFP emission
Position 3: 510dclp (for YFP) – G2B | [7 empty] | Filter 3 (Position 2): 340 nm Fura2 excitation 1 |  |  |  |  | Filter 3 (Position 2): 535/40 nm Fura2 emission
Position 4: 560 dcxr (for mOrange2 and O/C FRET) - YFPHQ | [7 empty] | Filter 4 (Position 3): 380 nm Fura2 excitation 2 |  |  |  |  | Filter 4 (Position 3): 575/20 nm Orange2 emission
Position 5: GFP/FITC (full cube) –GFP-L | [7 empty] | Filter 5 (Position 4): 495/10x nm YFP excitation |  |  |  |  | Filter 5 (Position 4): 630/20 nm Cherry1 emission
Position 6: RFP/Tritc (full cube) - TxRed | [7 empty] | Filter 6 (Position 5): 560/40 nm mCherry1 excitation |  |  |  |  | Filter 6 (Position 5): 650/100 nm Cherry2 emission
Backup Dichroic Mirror: 595dclp (for mCherry) | [7 empty] | Filter 7 (Position 6): 515/10x nm mOrange2 excitation |  |  |  |  | Filter 7 (Position 6): Closed
[8 empty] | Filter 8 (Position 7): 580/10 nm mCherry2 excitation |  |  |  |  | Filter 8 (Position 7): Closed
[8 empty] | Filter 9 (Position 8): closed |  |  |  |  | Filter 9 (Position 8): Closed
[8 empty] | Filter 10 (Position 9): Open |  |  |  |  | Filter 10 (Position 9): Open